## SUMMARY PAGE
SUMMARY PAGE
S/N
AMOUNT
1 | PRELIMINARIES
2 | OVER HEAD TANK | 0
3 | BUILDING BLOCK | 0
4 | LPG | 0 | 0
5 | VAT 7.5% |  | 0
6 | WHT 5%
TOTAL SUM

## OVERHEAD TANK
O |  | qty | unit | rate | amount
EXCAVATION
| Exacvate insert stanxhion | 1 | m3 |  | 0
0
| insititu concrete |  |  |  | 0
|  | 1 | M3 |  | 0
0
| 100X50 H stanchion | 2.5 |  |  | 0
| 2X3 Angle 1ron | 10 |  |  | 0
| 2.5mm m/s plate iron | 6 |  |  | 0
| 40x40 flatbar | 6 |  |  | 0
| Base late | 4 |  |  | 0
| tank | 1 |  |  | 0
| Borehold | 1 |  |  | 0
0
0

## BUILDING BLOCK
PROPOSED LPG PLANT FOR IBILI OIL AND GAS CORPORATION
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NO 1
SUBSTRUCTURE
1.5: EXCAVATING AND FILLING
B | EXCAVATION Excavate vegetable top soil average depth 150mm thick | 12.5 | M3 |  | 0
| Excavate trench to receice foundation starting from strip level | 5 | M3 |  | 0
| Excavate pit for column base starting from strip level maximum depth | 4 | M3 |  | 0
C | DISPOSAL OF EXCAVATED MATERIAL Dispose of surplus excavated material and other debris offsite | 13 | M2
Filling obtained from excavated material
D | Final thickness of filling not exceeding 500mm deep 500mm thick; Site, not more
| than 200mm around site,backfilling foundations; in layers average depth 250mm | 20 | M3 |  | 0
| TO COLLECTION |  |  |  | 0
EXCAVATING AND FILLING (Cont'd)
Approved quality 1mm thick damp proof membrane
E | HARD CORE FILLING | 4.8 | M3 |  | 0
F | Damp Proof Membrane; Over 500mm wide, | 24 | M2 |  | 0
1mm thick; Horizontal
G | REINFORCEMENT
| 12mm diameter; Bent; in column bases | 71.2 | kg |  | 0
| 10mm diameter; Bent; in columns | 69.5 | kg |  | 0
| 6mm diameter; Bent; stirups in column | 45 | kg |  | 0
| Mesh; 4.52kg/sq.m Ref. A152 minimum laps 150mm | 24 | m2 |  | 0
H | FORMWORK
Plainformwork
| to short colums | 3 | m2 |  | 0
| oversite concrete not more than 150mm | 5 | m2 |  | 0
| TO COLLECTION |  |  |  | 0
1.11: INSITU CONCRETE WORKS
CONCRETE IN FOUNDATION
F | Horizontal Work; less or equal to 300 thick; in blinding; poured on or against earth | 15 | m2 |  | 0
G | Colum base | 1 | m3 |  | 0
| Short colums | 0.8 | m3 |  | 0
0
| TO SUMMARY |  |  |  | 0
ELEMENT NO 2
1.14: MASONRY
Brick/Block Walling
460x230x230 mm sandcrete block wall laid in stretcher bond and fill concrete with concrete grade 40 Hollow sandcrete blockwall beded and jointed in cement and sand (1:6)
Walls;
225mm thick; blockwork; skin of hollow walls,Laid in stretcher bond
A | Foundation | 24 | m2 |  | 0
B | Walls; | 75 | m2 |  | 0
TO SUMMARY
FRAMES
REINFORCEMENT
| Y10 | 124.1 | kg |  | 0
| Y6 | 113.4 | kg |  | 0
0
| FORMWORK |  |  |  | 0
| Plainwood to side of comluns | 15 | m2 |  | 0
0
0
| CONCRETE |  |  |  | 0
| 1;3;6; To | 2 | m3 |  | 0
colums
0
ELEMENT NO 3
DOORS AND WINDOWS
WINDOW
1.23: WINDOWS SCREENS AND LIGHTS
Nigalex or other equal and approved heavy gauge
aluminium section two or three bays with net; factory
glazed with tinted 4mm thick sheet glass complete with
glazing beads and other accessories and ironmongery
including screwing and plugging frames to blockwall
and concretework to Architects drawings
Windows and window frames
A | 1200 X 1200mm high | 1 | Nr |  | 0
B | 600X600MM High | 2 | Nr |  | 0
0
DOORS
Purpose made swing/sliding doors constructed of hollowsteel
sections and steel plates complete with frames and glazing
comprising of clear sheet glass and beads
including all necessary ironmongery
Door Sets
A | 1000X2100mm High | 1 | nr |  | 0
B | 900x2100mm High | 1 | nr
| 750X2100mmhigh | 1 | nr |  | 0
0
| TO SUMMARY |  |  |  | 0
ELEMENT NO 4
ROOF CONSTRUCTION AND COVERING
1.16: STEEL WORK (carcass)
approved preservatives Primary or Structural timber
| 50 x 150mm Rafters | 47 | m |  | 0
| 50 x 150mm Tiebeam | 42 | m |  | 0
| 50 x 75mm Strutting | 51 | m |  | 0
| 50 x 75mm Purlins | 30 | m |  | 0
| 50 x 50 Noggins(WOOD) | 110 | m |  | 0
1.17: SHEET ROOF COVERING
0.55mm stone coated aluminium roofing sheet lapped at 0.01m and tied with divided screw nail in the purline
A | Covering over 500mm wide; Sloping 100 Pitch; oven baked coloured | 20 | m2 |  | 0
C | 150mm girth; Valleys; flashing | 12 | m |  | 0
| TO SUMMARY |  |  |  | 0
ELEMENT NO: 5
| TO COLLECTION |  |  |  | 0
1.11:IN-SITU CONCRETE Reinforced in-situ concrete 13.5528, designed mix (1:2:4 19mm aggregate, minimum cement content 300kg/m3 vibrated generally in
A | Lintels for both doors and windows | 0.5 | m3 |  | 0
1.11: FORMWORK FOR IN-SITU CONCRETE Sawn formwork to vertical side and horizontal bottom of
B | Lintels | 5 | m2 |  | 0
1.11: REINFORCMENT FOR IN-SITU CONCRETE Reinforcement bars: 13.e4449 high tensile bar, straight and bend in:
D | Lintel 12mm diameter | 15 | kg |  | 0
E | 8mm diameter links | 6 | kg |  | 0
| TO COLLECTION |  |  |  | 0
ELEMENT NO 6
FINISHES
1.28: WALL FINISHES
15mm thick cement and sand rendering (1:4) steel trowelled on block working
A | over 600mm wide | 135 | m2 |  | 0
B | Less or equal to 600mm | 6 | m |  | 0
1.29: DECORATIONS
Dulux or other equal and approved latex paint
one coat; cement floated wall sandpapered
smooth and one coat plastered wall
Painting to general surfaces;
C | less or equal to 300mm girth; internal and external | 119.5 | m2 |  | 0
Painting to general surfaces;
C | less or equal to 300mm girth; internal and external | 37.5 | m |  | 0
G | Wall tiles | 15 | m2 |  | 0
| TO SUMMARY |  |  |  | 0
1.28: FLOOR FINISHINGS
Cement and sand mortar (1:4) on concrete base screeded level an to floors only not exceeding 45mm thick to horizontal, to receive ceramic tiles.
A | 40mm thick bed and badking | 20 | m2 |  | 0
B | 600×600×10mm vatrified spanish floor ceramic tiles on benbed squares. | 20 | m2 |  | 0
C | Skirtings, net height 100mm; 15mm wide; Blockwall
| background | 15 | m |  | 0
| TO SUMMARY |  |  |  | 0
ELEMENT NO: 7
CEILING FINISHINGS
POP ceiling finishes on hardwood noggins including cornice in
D | POP ceiling internaly | 23 | m2 |  | 0
| TO SUMMARY |  |  |  | 0
ELEMENT NO 8
ELECTRICAL INSTALLATONS
POWER INSTALLATION
A | 100Amps 8Ways TP&N Distribution Board: FE, MEM or equal and approved vendor | 1 | Nr |  | 0
B | 60A TP&N ELCB: ABB or equal and approved vendor | 1 | Nr |  | 0
0
LIGHTING FITTINGS
C | 1x 45W Pentura mini TCH128 ceiling Lighting Fitting LED; Philips or GE | 4 | Nr |  | 0
0
0
E | 1 X 20W Urbana TropicGPS300 Flourescent lamp | 2 | Nr |  | 0
0
SWITCHES AND SOCKET
Supply and install the following Switches and Sockets MK, MEM or equal and approved vendor
A | 5A Switches (Various Ways and Gangs) | 4 | Nr |  | 0
0
C | 13A Single Socket Outlet | 3 | Nr |  | 0
0
D | 13A Double Socket Outlet | 3 | Nr |  | 0
0
0
CONDUITING
G | Supply and Insttallation of 20mm PVC Conduit Pipes (Niger Pipe) and associated accessories required for complete conduit pipes installations | 85 | m |  | 0
H | Ditto: 25mm PVC Conduit Pipes | 65 | m |  | 0
0
CABLES
Supply and Insttallation of Cables for the entire house: Nocaco or equal and approved vendor
J | 1.5mm2 single Core | 473 | m |  | 0
0
K | 2.5mm2 single Core | 175 | m |  | 0
0
| Earthing; | 1 | sum |  | 0
0
| To Summary |  |  |  | 0
MECHANICAL INSTALLATIONS
INFORMATION
Nature and location of the work
The work in this section comprises
(i.) Sanitary, Drainage and water supply installations, Mechanical services. (ii) The contractor is hereby reffered to the Mechanical Services drawing for further details
N13 Sanitary Fittings
Sanitary fittings in approved colour including assembling all component parts, and making all necessary watertight joints in accordance with the manufacturers instructions, cleaning and leaving in sound mechanical working order on completion (joints to service and waste measured separately)
A | W.C suite comprising pan and "S" trap complete with double flap plastic ring seats with rubber buffers, flushing cistern 9 litres capacity with concealed brackets, including flush bend and rubber cone connector including plugging and screwing cistern to wall | 1 | nr |  | 0
B | Wash hand basin complete with plug, heavy gauge mixers, chain and stay with 12mm chromium plated waste fitting and pair of cantilever brackets cut and pinned to tiled wall. | 1 | nr |  | 0
G | Set of accessories (stainless steel) comprising:Soap dish, Toilet roll holder, Towel rail, hook and cup | 1 | nr |  | 0
H | 800mm floor drain; stainless steel; mounted flush with floor finish | 1 | nr |  | 0
Mirrors
J | ROSE BUD 6mm silver glass mirror 600x450mm high with chromium plated dome headed screws and polythene buffers. | 1 | nr |  | 0
|  | To collection : |  |  | 0
R11 FOUL DRAINAGE ABOVE GROUND
Pipes; straight; uPVC; push-fit jointed; in ducts, chases, floor screeds, and trenches
A | 100mm; waste water pipes and vents; in ducts; fixed to floor, wall and chases | 25 | m |  | 0
B | 50mm; waste pipes; in ducts; fixed to floor, wall and chases | 15 | m |  | 0
Extra over pipework UPVC pipe 100mm
C | Bend; 100x100mm | 6 | nr |  | 0
D | Tees; 100x100x100mm | 6 | nr |  | 0
E | WC connector sleeve; 100x100mm plug | 1 | nr |  | 0
F | Vent cowl; 100mm | 1 | nr |  | 0
G | Cleaning eye; 100mm | 1 | nr |  | 0
Extra over pipework UPVC pipe 50mm
H | Bend; 50x50mm | 6 | nr |  | 0
J | Tees; 50x50x50mm | 2 | nr |  | 0
S10 COLD WATER
PIPE LINES
Pipes and fittings heavy gauge multilayer PPR "TECHNOGREEN" types in ducts, trenches, chases, floor screeds and insitu concrete as per Engineer's specification.
K | Water distribution; 25mm in floor and walls | 20 | m |  | 0
L | Water distribution; 20mm in floor and walls | 15 | m |  | 0
|  | To collection : |  |  | 0
Extra over pipework; PPR pipe; 25mm
A | Elbow; 25x20mm | 7 | nr |  | 0
B | Tees; 25x20x25mm | 5 | nr |  | 0
C | Sockets; 25mm | 4 | nr |  | 0
D | Nipple; 25x25mm | 10 | nr |  | 0
E | Union connector; 25mm | 10 | nr |  | 0
Extra over pipework; PPR pipe; 20mm
F | Elbow; 20x20mm | 5 | nr |  | 0
G | Tees; 20x20x20mm | 3 | nr |  | 0
H | Sockets;20mm | 4 | nr |  | 0
J | Nipple; 20x20mm | 5 | nr |  | 0
K | Union connector; 20mm | 4 | nr |  | 0
Accessories for Plumbing Services
Valves and Corks; PPR fittings
L | Gate valve; 25mm | 1 | nr |  | 0
1
M | Gate valve; 20mm | 1 | nr |  | 0
|  | To collection : |  |  | 0
DRY POWDER/GAS FIRE FIGHTING
Equipment; supply, assemble and install the following Angus or approved equivalent equipment in positions indicated on the drawings; rate to include mounting on steel brackets screw to walls, fittings, accessories and ancillaries deemed necessary for a complete and operational installation
A | Fire extinguisher; hand held for classes ABC; 9kg capacity general purpose dry powder type | 0 | nr |  | 0
B | Fire extinguisher; non- conterminated liquid vapour; electrical machine and tools appliances; hand held for classes Co2; 5kg capacity general purpose gas type | 0 | nr |  | 0
R12 DRAINAGE BELOW GROUND
Y10 PIPELINES
PIPELINES; STRAIGHT; TO FALLS; UPLASTICISED PVC PIPES AND FITTINGS; TO B.S. 4660; RUBBER RING LIP SEAL COUPLING JOINTS; CONNECTION TO GULLY TRAPS, CHAMBERS AND MANHOLES (MEASURED SEPARATELY); BURIED IN TRENCHES; AS ENGINEER'S SPECIFICATION
C | Septic tank overall size 2000mm x 1150mm x 1800mm deep complete with cover slabs. | 1 |  |  | 0
D | Soakaway pit overall size 1450mm x 1150mm x 1800mm deep complete with cover slabs, | 1 |  |  | 0
|  | To collection : |  |  | 0
Y11 PIPELINE ANCILLARIES
ANCILLARIES AND ASSOCIATED FITTINGS AND ACCESSORIES; FIXING TO PIPEWORK AS SPECIFIED; AS ENGINEER'S SPECIFICATION
Accessories in precast concrete; top set in with rodding eye and stopper; cement and sand (1:2) joint to pipe;
A | Inspection chamber size 450x450x450mm deep(average); internally constructed of 150mm plain insert concrete grade 15 base; 150mm plain hollow sandcrete blockwork filled solid with plain concrete and capped with 75mm thick pre-cast concrete grade 20 cover slab reinforced with single layer B.R.C nr 65 mesh ; with 225mm (average) concrete grade 15 benching and forming 150mm half round diameter in and same rendering on sides in water proof cement mortar (1:3) with and including all necessary excavation, earthworks and formwork | 3 | nr |  | 0
|  | To collection : |  |  | 0
Collection
MECHANICAL INSTALLATIONS
|  |  |  | Page 3/19 | 0
|  |  |  | Page 3/20 | 0
|  |  |  | Page 3/21 | 0
|  |  |  | Page 3/22 | 0
|  |  |  | Page 3/23 | 0
| Carried to Summary |  |  |  | 0
SUMMARY
A | Substructure |  |  |  | 0
B | MASONARY |  |  |  | 0
C | Doors and windows |  |  |  | 0
D | Roof |  |  |  | 0
E | Insitu Concrete Lintel |  |  |  | 0
F | Wall finishing |  |  |  | 0
M | floor finishing |  |  |  | 0
N | ceiling finishing |  |  |  | 0
O | Electrical |  |  |  | 0
P | Mechanical External works |  |  |  | 0
| TO GENERAL SUMMARY |  |  |  | 0

## PMS SHED-OTHERS
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PMS
A | Excavation not more that 150mm | 10.8 | m3 |  | 0
PMS Tank stand
B | Generator stand | 1.35 | m3 |  | 0
| Cylinder filling shed | 6.3 | m3 |  | 0
D | than 200mm around site,backfilling foundations; in layers average depth 2.5m | 130 | m3 |  | 0
Weak Concrete (1:10 - graded sub base)
E | Horizontal Work; less or equal to 300 thick; in blinding; poured on or against earth or
| unblinded hardcore | 1 | m3 |  | 0
| Laterite filling | 15 | m3 |  | 0
filling to make up level
Grade 25 Concrete
Horizontal Work
F | Containerized Solution | 10 | m3 |  | 0
g | Containerized Solution shed | 1.45 | m3 |  | 0
h | gen stand | 6.3 | m3 |  | 0
Formwork
Plain formwork
Sides of foundations and bases;
J | Sides of shed, gen stand and PMS.; Regular
| rectangular shape | 145 | m2 |  | 0
Masonary
PMS, GEN HOUSE, CYLINDER SHED
| WALL | 34.04 | M2 |  | 0
0
| TO SUMMARY |  |  |  | 0
1.15 STRUCTURAL METAL WORK
A | 25mm diameter holding down mild steel bolts (600mm long) with 40mm diameter G.I sleeves to protect mild steel bolts | 8 | Nr |  | 0
B | 450 x 450 x 12mm thick base plate on 25mm concrete grout | 2 | Nr |  | 0
203 x 203 x 10mm thick, 46.21kg/m thick universal column and beams
D | Frame members, fabricating and erecting of 4" Galvanised pole; exceeding 6.00m; weight greater than 25kg/m in Columns | 60 | Kg |  | 0
300mm diameter x 8mm thick, 59.15kg/m thick universal column and beams
E | Frame members, fabricating and erecting of 4" Galvanised pole; Lengths exceeding 6.00m; weight greater than 15kg/m in Columns | 110 | Kg |  | 0
F | Frame members, fabricating and erecting of 4" Galvanised pole Lengths exceeding 9.00m; weight less than 25kg/m in Beams | 55 | Kg |  | 0
| To collection |  |  |  | 0
ROOF CONSTRUCTION AND COVERING
1.15 STRUCTURAL METAL WORK
152 x 152 x 30kg/m thick universal column and beams
A | Frame members, fabricating and erecting of H channel; Lengths exceeding 9.00m; weight less than 25kg/m in Columns and beams | 320 | Kg |  | 0
125 x 125 x 6.88kg/m Angle iron for trusses
B | Frame members, fabricating and erecting of Angle ironl; Lengths from 1.00m - 9.00m; weight less than 25kg/m | 249 | kg |  | 0
90 x 90 x 7mm thick 4.17kg/m Angle iron for trusses
C | Frame members, fabricating and erecting of Angle ironl; Lengths from 1.00m - 9.00m; weight less than 25kg/m in overhead tank | 193 | kg |  | 0
50 x 50 x 6mm thick Angle iron
D | Frame members, fabricating and erecting of Angle ironl; Lengths from 1.00m - 9.00m; weight less than 25kg/m | 193 | kg |  | 0
25 x 25 x 4mm thick 1.57kg/m Angle iron for cladding
E | Frame members, fabricating and erecting of Angle ironl; Lengths from 1.00m - 9.00m; weight less than 25kg/m in overhead tank | 83 | kg |  | 0
F | 20mm diameter holding down mild steel bolts (600mm long) with 40mm diameter G.I sleeves to protect mild steel bolts | 8 | Nr |  | 0
G | 150 x 75 x 10mm thick (17kg/m) 300mm long connecting plate | 2 | Nr |  | 0
152 x 51 x 2.5mm(4.17kg/m Z Purlin
H | Frame members, fabricating and erecting of Z purlins; Lengths from 1.00m - 9.00m; weight less than 25kg/m | 279 | m |  | 0
| To collection |  |  |  | 0
A | Allow a provisional sum for guset plate to be cut to size, reveting, 16mm and 8mm diameter blue bolt and welding, in accordance to the consultant instruction
1.17: SHEET ROOF COVERING
Sheet Metals
0.55mm stone coated aluminium roofing sheet lapped at 0.01m and tied with divided screw nail in the purline
B | Covering over 500mm wide; Sloping 100 Pitch; oven baked coloured | 185 | m2
C | 350mm girth; Ridges; Horizontal | 22 | m |  | 0
D | 350 x 150 x 8mm thick steel plate gutter | 22 | m |  | 0
E | 10mm thick chequered plate as side cladding | 0 | m2 |  | 0
F | 10mm thick chequered plate as ceiling finishes | 0 | m2 |  | 0
H | Allow a provisional sum for painting of all steel works with gloss paint at the descrition of the consultant |  | Lot
G | Allow a provisional sum for signage with light, all required safety signs and symbols
| To collection |  |  |  | 0
COLLECTION
| Page 2 |  |  |  | 0
| Page 3 |  |  |  | 0
| Page 4 |  |  |  | 0
| TO SUMMARY |  |  |  | 0
ELECTRICAL INSTALLATION
EXTERNAL LIGHTING FITTINGS
A | 200w Solar street light with not less than 6m on approved galvanised poles | 6 | Nr |  | 0
B | Provide for all insttalations accessories necessary for complete installation of Lighting Fittings |  | Sum
| To Summary |  |  |  | 0
EXTERNAL WORKS/GENERAL COMPOUND WORK
A | PERIMETER FENCE
| Mesh wire fence include wield, concrete work and all necessary accessories required | 45 | m |  | 0
SUMMARY
| Ground work |  |  |  | 0
| Structural work |  |  |  | 0
| Electrical work |  |  |  | 0
External work
To general summary